## Energy
Fiscal Year | Normalized Sales (MWh) | [10 empty] | Actual Sales | Actual NEL | NEL (MWh) |  | Production (MWh) |  |  | Fiscal Year | Total Sales |  | NEL
| Res | Com | Ind | FPU | PEV | Electrification | Lighting | Off-System | Energy Efficiency | Total | FY17 Forecast |  |  | FY18 Forecast | FY17 Forecast |  |  |  |  | Harsh | Mild | Harsh | Mild
2008 | 5422915.8886 | 4135575.0114 | 3230500.53 | 442327.1582 | 0 | 0 | 116966.176 | 457421 | 0 | 13805705.7641 |  | 13690088 | 13647457.9323 | 13942840.4262 |  | 14262271 |  |  | 2016 | 12619471.2498 | 11884356.4197 | 12947577.5023 | 12193349.6866
2009 | 5211511.1528 | 3973195.9349 | 2857142.8258 | 404327.2654 | 0 | 0 | 120190.744 | 579730 | 0 | 13146097.9228 |  | 13255462 | 13189305.3762 | 13165854.6345 |  | 13662966 |  |  | 2017 | 12710672.8066 | 11970245.2645 | 13041150.2996 | 12281471.6414
2010 | 5328603.1098 | 3936992.7215 | 2784342.9947 | 398003.8511 | 0 | 0 | 121412.53 | 391559 | 0 | 12960914.2071 |  | 13571633 | 13706029.9657 | 13118457.6128 |  | 14110557 |  |  | 2018 | 12782173.4181 | 12037580.7918 | 13114509.927 | 12350557.8924
2011 | 5193916.2701 | 3911558.7126 | 2892233.2508 | 377653.0874 | 80.5915 | 0 | 122402.124 | 99593 | 0 | 12597437.0363 |  | 12969709 | 13382810.7279 | 13077373.0762 |  | 13757737.5 |  |  | 2019 | 12848560.7014 | 12100100.8548 | 13182623.2797 | 12414703.477
2012 | 4877917.6827 | 3897949.9317 | 2844285.821 | 402060.981 | 556.1724 | 0 | 122613.678 | 74852 | 0 | 12220236.2668 |  | 12047924 | 12325253.7931 | 12529081.4279 |  | 12712786 |  |  | 2020 | 12924588.478 | 12171699.8288 | 13260627.7784 | 12488164.0244
2013 | 4963813.2123 | 3831402.7276 | 2841422.764 | 332225.8629 | 1459.7418 | 0 | 123177.295 | 42286 | 0 | 12135787.6036 |  | 11971899 | 12325543.7329 | 12546763.3666 |  | 12723490 |  |  | 2021 | 13005024.1676 | 12247449.9442 | 13343154.7959 | 12565883.6428
2014 | 5070701.051 | 3867921.9477 | 2777548.3725 | 330438.4984 | 2452.4963 | 0 | 111324.733 | 136342 | 0 | 12296729.0989 |  | 12308331 | 12572129.4748 | 12592777.3619 |  | 13094930 |  |  | 2022 | 13072805.7907 | 12311283.1232 | 13412698.7412 | 12631376.4845
2015 | 5183950.4893 | 3949153.096 | 2791590.3876 | 330390.3991 | 3413.533 | 0 | 89377.543 | 83367 | 0 | 12431242.4479 |  | 12517575 | 12865915.858 | 12783136.7108 |  | 13332773 |  |  | 2023 | 13139661.1673 | 12374244.0119 | 13481292.3576 | 12695974.3562
2016 | 5216483.2234 | 4022311.7025 | 2720091.4931 | 318308.1233 | 4943.6252 | 0 | 80108 | 169037 | 0 | 12531283.1675 |  | 12730290 | 13052661.1259 | 12871447.91 |  | 13566949 |  |  | 2024 | 13215212.9986 | 12445394.7656 | 13558808.5365 | 12768975.0295
2017 | 5112051.2329 | 4018415.3381 | 2720010.8076 | 152515.6397 | 5814.6842 | 0 | 65721 | 140429.9 | 0 | 12214958.6026 | 12559651.3964 | 12190561.9 | 12482033.742 | 12553304.6966 | 12886202.3327 | 12822563 |  |  | 2025 | 13297397.8822 | 12522792.1803 | 13643130.2271 | 12848384.777
2018 | 5217260.194 | 4068621.346 | 2831772.3355 | 28622.2086 | 9218.6234 | 25618.7247 | 55186.2378 | 42000 | -26385.8353 | 12251913.8348 | 12492262.5971 |  |  | 12591291.848 | 12817061.4246 |  |  |  | 2026 | 13384035.0214 | 12604382.4959 | 13732019.9319 | 12932096.4408
2019 | 5265417.6597 | 4111100.3276 | 2857926.746 | 0 | 11759.2271 | 45614.4406 | 52833.9869 | 42214.4367 | -46407.789 | 12340459.0356 | 12628265.6701 |  |  | 12682289.7509 | 12956600.5775 |  |  |  | 2027 | 13467977.6361 | 12683435.2495 | 13818145.0546 | 13013204.566
2020 | 5299618.3373 | 4135274.3032 | 2867010.546 | 0 | 15092.0047 | 71235.0224 | 52011.3557 | 42429.9681 | -72794.4324 | 12409877.105 | 12736367.5 |  |  | 12753630.7008 | 13067513.055 |  |  |  | 2028 | 13547949.5554 | 12758748.6104 | 13900196.2438 | 13090476.0743
2021 | 5323937.03 | 4170194.8802 | 2869539.5658 | 0 | 19218.5722 | 96847.9982 | 51124.5955 | 42646.6 | -99178.4638 | 12474330.7781 | 12816531.9282 |  |  | 12819869.7406 | 13149761.7584 |  |  |  | 2029 | 13633724.5842 | 12839527.0356 | 13988201.4234 | 13173354.7386
2022 | 5354491.6203 | 4202955.0119 | 2874829.9893 | 0 | 24201.156 | 122470.7465 | 51897.1427 | 42864.338 | -125565.8512 | 12548144.1534 | 12924754.9752 |  |  | 12895727.7465 | 13260798.6046 |  |  |  | 2030 | 13724596.1312 | 12925105.0944 | 14081435.6306 | 13261157.8269
2023 | 5392798.406 | 4234143.5895 | 2877344.5006 | 0 | 30086.5329 | 148047.3875 | 52679.6619 | 43083.1876 | -151946.2101 | 12626237.0559 | 13044067.0611 |  |  | 12975983.8223 | 13383212.8047 |  |  |  | 2031 | 13824730.3697 | 13019406.2705 | 14184173.3593 | 13357910.8335
2024 | 5425593.8195 | 4261260.0897 | 2876494.6896 | 0 | 36909.8594 | 173387.4371 | 53437.1552 | 43303.1547 | -178341.7483 | 12692044.457 | 13158545.2978 |  |  | 13043614.0884 | 13500667.4755 |  |  |  | 2032 | 13938791.3227 | 13126822.8962 | 14301199.8971 | 13468120.2915
2025 | 5461986.3086 | 4287442.5768 | 2877084.7719 | 0 | 44743.4081 | 192734.62 | 54165.7014 | 43524.2447 | -204729.0418 | 12756952.5896 | 13267347.4942 |  |  | 13110320.1763 | 13612298.529 |  |  |  | 2033 | 14063246.9286 | 13244028.6609 | 14428891.3487 | 13588373.4061
2026 | 5506946.681 | 4313769.2831 | 2882142.443 | 0 | 53669.3159 | 206284.8012 | 54862.1207 | 43746.4636 | -231117.2265 | 12830303.8821 | 13374469.1648 |  |  | 13185703.2996 | 13722205.3631 |  |  |  | 2034 | 14195221.3232 | 13368315.2267 | 14564297.0776 | 13715891.4226
2027 | 5557862.1085 | 4339290.4378 | 2891438.3095 | 0 | 63754.6234 | 215754.6589 | 55524.0752 | 43969.8171 | -257498.9992 | 12910095.0313 | 13481920.7017 |  |  | 13267704.6636 | 13832450.64 |  |  |  | 2035 | 14338315.1381 | 13503073.4795 | 14711111.3316 | 13854153.39
2028 | 5617685.0972 | 4365470.1399 | 2897092.4885 | 0 | 75076.6864 | 222405.3613 | 56176.0245 | 44194.3109 | -283891.3502 | 12994208.7586 | 13590287.5999 |  |  | 13354148.3412 | 13943635.0775 |  |  |  | 2036 | 14490036.1674 | 13645956.3907 | 14866777.1078 | 14000751.2568
2029 | 5678775.9363 | 4390551.1031 | 2900644.8174 | 0 | 87732.7019 | 227037.1918 | 56816.2918 | 44419.9509 | -310271.5504 | 13075706.4428 | 13697213.6825 |  |  | 13437903.5112 | 14053341.2382 |  | Note: |  | 2037 | 14652500.9898 | 13798957.2428 | 15033466.0155 | 14157730.1311
2030 | 5739522.487 | 4414673.4344 | 2901610.6596 | 0 | 101806.1964 | 230311.1317 | 57447.1074 | 44646.7429 | -336668.6765 | 13153349.0829 | 13802556.4951 |  |  | 13517696.8525 | 14161422.9639 |  | 1) | Historical numbers from Monthly Financial Statements (Greenbook). | 2038 | 14827544.7176 | 13963804.2486 | 15213060.8802 | 14326863.159
2031 | 5803564.9458 | 4438602.3789 | 2904615.0487 | 0 | 117370.9754 | 232583.8496 | 58067.4323 | 44874.6929 | -363053.5136 | 13236625.8099 | 13908491.347 |  |  | 13603280.3449 | 14270112.1221 |  | 2) | Historical NEL numbers from Monthly Operating Report (MOR). | 2039 | 15009837.0787 | 14135477.6372 | 15400092.8428 | 14503000.0558
2032 | 5872631.1756 | 4462153.7198 | 2907065.7194 | 0 | 134502.6241 | 234156.7259 | 58665.6953 | 45103.8067 | -389428.854 | 13324850.6128 | 14015611.7205 |  |  | 13693948.9748 | 14380017.6253 |  | 3) | Historical Weather Normalized NEL numbers. | 2040 | 15199941.6847 | 14314508.1885 | 15595140.1685 | 14686685.4014
2033 | 5946948.5977 | 4484684.2391 | 2913155.5892 | 0 | 153243.759 | 235281.5613 | 59241.2093 | 45334.0902 | -415820.7257 | 13422068.3201 | 14125193.1567 |  |  | 13793859.6125 | 14492448.1788 |  | 4) | Plug-in Electric Vehicles (PEV) historical/forecast for residential only. | 2041 | 15401589.3665 | 14504409.4034 | 15802030.6901 | 14881524.0479
2034 | 6029662.1065 | 4505462.9685 | 2924791.6988 | 0 | 173683.8062 | 236037.2069 | 59795.1694 | 45565.5495 | -442191.3963 | 13532807.1095 | 14243384.5432 |  |  | 13907665.8664 | 14613712.5413 |  | 5) | FY18 Off-Road Electrification and Energy Efficiency from Customer Solutions & Market Development. | 2042 | 15610993.5561 | 14701615.2907 | 16016879.3885 | 15083857.2882
2035 | 6120249.5049 | 4524819.6059 | 2938524.8237 | 0 | 195890.9612 | 236600.689 | 60342.4515 | 45798.1906 | -468588.4322 | 13653637.7947 | 14380012.1921 |  |  | 14031843.5616 | 14753892.5091 |  | 6) | FY18 NEL Forecast based on Average Historical Normalized 3 years NEL/Sales Losses of 2.77% | 2043 | 15836556.5495 | 14914038.6922 | 16248307.0197 | 15301803.6982
2036 | 6217636.823 | 4542813.9913 | 2952425.2872 | 0 | 219962.0791 | 237014.3582 | 60880.3945 | 46032.0194 | -494996.6776 | 13781768.2749 | 14533202.3181 |  |  | 14163523.2562 | 14911065.5783 |  | 7) | Calculated House Load using Heatrate curves from Fuels Management Services. | 2044 | 16074722.1979 | 15138330.6136 | 16492664.9751 | 15531927.2095
2037 | 6323506.1415 | 4560267.7496 | 2967416.4658 | 0 | 245937.4552 | 237269.4161 | 61404.7244 | 46267.042 | -521374.6858 | 13920694.3088 | 14698975.0495 |  |  | 14306297.5411 | 15081148.4008 |  | 8) | Production historical MWh from FY08 to FY17 from Estimated Load Summary from SOCC. | 2045 | 16326944.8557 | 15375860.6894 | 16751445.422 | 15775633.0673
2038 | 6435292.3261 | 4578356.3238 | 2982332.173 | 0 | 273903.9341 | 237442.7024 | 61916.2175 | 46503.2647 | -547750.6625 | 14067996.279 | 14867020.9684 |  |  | 14457679.776 | 15253563.5136 |  | 9) | Energy forecast does not include GRU joint dispatch. | 2016-2025 | 0.5831% | 0.5831% | 0.5831% | 0.5831%
2039 | 6551964.5139 | 4596812.9631 | 3000369.9822 | 0 | 303987.9932 | 237578.402 | 62415.3724 | 46740.6933 | -574140.8039 | 14225729.1163 | 15036155.2056 |  |  | 14619781.8128 | 15427095.2409
2040 | 6673628.6691 | 4616228.7695 | 3022505.9685 | 0 | 336287.0365 | 237648.6559 | 62905.124 | 46979.3342 | -600509.0747 | 14395674.4831 | 15214859.5443 |  |  | 14794434.6662 | 15610445.8924
2041 | 6798546.5525 | 4635999.6999 | 3045796.2259 | 0 | 370890.2882 | 237747.3513 | 63383.5446 | 47219.1935 | -626925.498 | 14572657.358 | 15400755.5049 |  |  | 14976319.9668 | 15801175.148
2042 | 6926789.6774 | 4656329.3106 | 3070428.369 | 0 | 407884.532 | 237791.4755 | 63853.1149 | 47460.2775 | -653311.8202 | 14757224.9366 | 15590945.9305 |  |  | 15166000.0674 | 15996310.5247
2043 | 7057637.4972 | 4678336.3779 | 3099514.0245 | 0 | 447369.6116 | 237818.8768 | 64315.3867 | 47702.5923 | -679694.9821 | 14952999.385 | 15788585.4322 |  |  | 15367197.468 | 16199088.6535
2044 | 7193553.8199 | 4701975.9955 | 3126838.6493 | 0 | 489461.1207 | 237817.0807 | 64769.7327 | 47946.1443 | -706058.1197 | 15156304.4234 | 15996137.4719 |  |  | 15576134.0559 | 16412037.0461
2045 | 7337703.2959 | 4726681.084 | 3157816.1504 | 0 | 534297.5616 | 237821.0867 | 65219.8623 | 48190.9398 | -732432.3599 | 15375297.6208 | 16214728.7625 |  |  | 15801193.3649 | 16636311.7104
2046 | 7488928.1729 | 4751739.3509 | 3190731.8408 | 0 | 582016.3253 | 237843.9964 | 65660.7375 | 48436.9851 | -758831.0031 | 15606526.4057 | 16435929.1097 |  |  | 16038827.1872 | 16863263.2665
2047 | 7651149.1384 | 4777343.2745 | 3222727.0122 | 0 | 632779.4047 | 237751.5714 | 66087.6495 | 48684.2867 | -785119.565 | 15851402.7725 | - |  |  | 16290486.6293 | -
2018-2027 | 0.7052% | 0.7182% | 0.2319% | -100% | 23.97% | 26.71% | 0.06784% | 0.5106% | 28.81% | 0.5831% | 0.8507% | - | - | 0.5831% | 0.8507%

## Winter
Winter | Historical |  | Forecast (Total) |  | Forecast (Firm)
| Actual | Normal | FY18 | FY17 | FY18 | FY17
2008 | 2914 | 3060.5872
2009 | 3064 | 3049.1577
2010 | 3224 | 3013.8257
2011 | 3062 | 2955.0922
2012 | 2665 | 2832.0294
2013 | 2559 | 2843.1086
2014 | 2823 | 2893.6172
2015 | 2863 | 2927.3881
2016 | 2674 | 2950.5086
2017 | 2480 | 2826.6814
2018 |  |  | 2858.1868 | 2880.2032 | 2752.9895 | 2764.8032
2019 |  |  | 2902.8805 | 2916.8208 | 2794.486 | 2796.7208
2020 |  |  | 2927.1398 | 2950.1377 | 2815.5481 | 2825.3377
2021 |  |  | 2947.4142 | 2977.6037 | 2832.6254 | 2848.1037
2022 |  |  | 2967.0421 | 3001.228 | 2849.056 | 2867.028
2023 |  |  | 2988.8229 | 3026.9273 | 2867.6396 | 2888.0273
2024 |  |  | 3007.5876 | 3052.4098 | 2883.2071 | 2908.8098
2025 |  |  | 3024.9736 | 3076.4944 | 2897.3958 | 2928.1944
2026 |  |  | 3043.9493 | 3100.351 | 2913.1744 | 2947.351
2027 |  |  | 3064.6687 | 3124.1217 | 2930.6965 | 2966.4217
2028 |  |  | 3088.3028 | 3148.0476 | 2951.1334 | 2985.6476
2029 |  |  | 3110.8032 | 3171.6652 | 2970.4366 | 3004.5652
2030 |  |  | 3132.2918 | 3194.9901 | 2988.728 | 3023.1901
2031 |  |  | 3153.7577 | 3218.4018 | 3006.9966 | 3041.9018
2032 |  |  | 3176.7471 | 3242.2185 | 3026.7888 | 3061.0185
2033 |  |  | 3200.5508 | 3266.1332 | 3047.3953 | 3080.2332
2034 |  |  | 3226.7883 | 3291.5858 | 3070.4356 | 3100.9858
2035 |  |  | 3255.8934 | 3320.2291 | 3096.3435 | 3124.9291
2036 |  |  | 3286.7871 | 3351.8188 | 3124.04 | 3151.8188
2037 |  |  | 3319.5908 | 3385.7325 | 3153.6464 | 3181.0325
2038 |  |  | 3354.2078 | 3420.0018 | 3185.0661 | 3210.6018
2039 |  |  | 3390.0478 | 3454.2861 | 3217.709 | 3240.1861
2040 |  |  | 3428.0563 | 3489.9003 | 3252.5202 | 3271.1003
2041 |  |  | 3467.9158 | 3526.8318 | 3289.1825 | 3303.3318 | Winter Forecast:
2042 |  |  | 3508.9696 | 3564.5694 | 3327.0391 | 3336.3694 | 1) Energy (GWH) from month November to February
2043 |  |  | 3551.5393 | 3603.3776 | 3366.4115 | 3370.4776 | 2) Last 72 hours Heating Degree Hours
2044 |  |  | 3596.8352 | 3643.8517 | 3408.5102 | 3406.2517 | 3) Weather Normalized to 24°F
2045 |  |  | 3643.9515 | 3686.1824 | 3452.4293 | 3443.8824 | 4) Normalized with AmeriSteel online
2046 |  |  | 3693.7736 | 3729.2047 | 3499.0542 | 3486.9047 | 5) FPU sales end 12/31/2017
2047 |  |  | 3736.6314 |  | 3544.0523 |  | 6) AUX calculated using Heatrate curves from Fuels Management Services.
2017-2026 |  |  | 0.778% | 0.9073% | 0.6975% | 0.7851% | 7) See Winter Details

## Summer
Summer | Historical |  | Forecast (Total) |  | Forecast (Firm)
| Actual | Normal | FY18 | FY17 | FY18 | FY17
2008 | 2866 | 2876.8432
2009 | 2754 | 2805.8817
2010 | 2817 | 2777.4476
2011 | 2756 | 2780.3712
2012 | 2616 | 2746.6463
2013 | 2596 | 2726.4884
2014 | 2646 | 2737.4284
2015 | 2683 | 2758.799
2016 | 2763 | 2765.3884
2017 | 2682 | 2775.6693
2018 |  |  | 2724.927 | 2725.2753 | 2615.8232 | 2607.2753
2019 |  |  | 2746.4837 | 2760.5703 | 2633.276 | 2636.5703
2020 |  |  | 2761.72 | 2782.9388 | 2644.4085 | 2652.9388
2021 |  |  | 2776.2355 | 2801.4041 | 2654.8201 | 2665.4041
2022 |  |  | 2791.7557 | 2823.8454 | 2666.2364 | 2681.8454
2023 |  |  | 2807.8787 | 2847.9381 | 2678.2557 | 2699.9381
2024 |  |  | 2822.3092 | 2871.2528 | 2688.5823 | 2717.2528
2025 |  |  | 2835.6648 | 2892.8024 | 2697.834 | 2732.8024
2026 |  |  | 2846.4795 | 2913.7224 | 2705.9012 | 2747.7224
2027 |  |  | 2861.6826 | 2934.4202 | 2716.797 | 2762.4202
2028 |  |  | 2878.9321 | 2955.0338 | 2728.7898 | 2777.0338
2029 |  |  | 2913.4602 | 2988.9807 | 2759.2141 | 2808.4906
2030 |  |  | 2930.3236 | 3010.8149 | 2771.9736 | 2822.7346
2031 |  |  | 2948.1341 | 3032.8275 | 2785.6802 | 2839.3013
2032 |  |  | 2966.8735 | 3055.1743 | 2800.3158 | 2853.1743
2033 |  |  | 2987.0578 | 3078.0105 | 2816.3963 | 2870.0105
2034 |  |  | 3009.3236 | 3102.3625 | 2834.5582 | 2888.3625
2035 |  |  | 3033.2543 | 3129.7147 | 2854.385 | 2909.7147
2036 |  |  | 3058.5211 | 3159.7809 | 2875.5481 | 2933.7809
2037 |  |  | 3085.587 | 3191.9415 | 2898.5101 | 2959.9415
2038 |  |  | 3114.1462 | 3224.582 | 2922.9655 | 2986.582
2039 |  |  | 3144.4587 | 3257.5161 | 2949.1741 | 3013.5161
2040 |  |  | 3176.7611 | 3292.0085 | 2977.3726 | 3042.0085
2041 |  |  | 3210.4057 | 3327.719 | 3006.9134 | 3071.719 | Summer Forecast:
2042 |  |  | 3245.4769 | 3364.2407 | 3037.8808 | 3102.2407 | 1) Energy (GWH) from month June to September
2043 |  |  | 3278.9354 | 3402.0266 | 3071.0559 | 3134.0266 | 2) Last 48 hours Cooling Degree Hours
2044 |  |  | 3317.7683 | 3441.481 | 3105.5398 | 3167.481 | 3) Weather Normalized to 97°F
2045 |  |  | 3359.1666 | 3482.7854 | 3142.5441 | 3202.7854 | 4) Normalized with AmeriSteel online
2046 |  |  | 3402.1423 | 3523.6298 | 3181.6874 | 3132.7091 | 5) FPU sales end 12/31/2017
2047 |  |  | 3432.1966 |  | 3227.0301 |  | 6) AUX calculated using Heatrate curves from Fuels Management Services.
2017-2026 |  |  | 0.5456% | 0.8249% | 0.4217% | 0.6443% | 7) See Summer Details

## Winter Details
| Winter Peak (MW) | [13 empty] | Mild/Harsh Weather Peak Forecast (MW)
FY | System | [6 empty] | Interrupt AmeriSteel |  | Total Interruptibles |  | Conservation |  | FY | Total |  |  | Firm
| JEA | FPU | AmeriSteel | PEV | Electrification | AUX | Total |  | Sub-Total |  | Sub-Total |  | Firm Peak |  | Mild | Base | Harsh | Mild | Base | Harsh
2018 | 2695.8048 | 0 | 78.8688 | 0.22999 | 4.0461 | 79.237 | 2858.1868 | 59 | 2799.1868 | 102 | 2756.1868 | 3.1972 | 2752.9895 | 2018 | 2526.8534 | 2858.1868 | 3057.4059 | 2421.6562 | 2752.9895 | 2952.2087
2019 | 2735.7977 | 0 | 78.8688 | 0.29505 | 8.0923 | 79.8266 | 2902.8805 | 59 | 2843.8805 | 102 | 2800.8805 | 6.3944 | 2794.486 | 2019 | 2567.7214 | 2902.8805 | 3103.89 | 2459.3269 | 2794.486 | 2995.4956
2020 | 2755.6251 | 0 | 78.8688 | 0.37872 | 12.1384 | 80.1288 | 2927.1398 | 59 | 2868.1398 | 102 | 2825.1398 | 9.5917 | 2815.5481 | 2020 | 2590.0862 | 2927.1398 | 3129.0052 | 2478.4945 | 2815.5481 | 3017.4135
2021 | 2771.5083 | 0 | 78.8688 | 0.48127 | 16.1845 | 80.3713 | 2947.4142 | 59 | 2888.4142 | 102 | 2845.4142 | 12.7889 | 2832.6254 | 2021 | 2608.8398 | 2947.4142 | 3149.9465 | 2494.0509 | 2832.6254 | 3035.1576
2022 | 2786.7405 | 0 | 78.8688 | 0.60459 | 20.2307 | 80.5975 | 2967.0421 | 59 | 2908.0421 | 102 | 2865.0421 | 15.9861 | 2849.056 | 2022 | 2627.0046 | 2967.0421 | 3170.202 | 2509.0185 | 2849.056 | 3052.2159
2023 | 2804.0946 | 0 | 78.8688 | 0.74952 | 24.2716 | 80.8383 | 2988.8229 | 59 | 2929.8229 | 102 | 2886.8229 | 19.1833 | 2867.6396 | 2023 | 2647.1215 | 2988.8229 | 3192.7012 | 2525.9382 | 2867.6396 | 3071.5179
2024 | 2818.5072 | 0 | 78.8688 | 0.9169 | 28.2572 | 81.0375 | 3007.5876 | 59 | 2948.5876 | 102 | 2905.5876 | 22.3805 | 2883.2071 | 2024 | 2664.5463 | 3007.5876 | 3212.0907 | 2540.1658 | 2883.2071 | 3087.7101
2025 | 2832.7196 | 0 | 78.8688 | 1.1087 | 31.0504 | 81.226 | 3024.9736 | 59 | 2965.9736 | 102 | 2922.9736 | 25.5778 | 2897.3958 | 2025 | 2681.7417 | 3024.9736 | 3231.2184 | 2554.1639 | 2897.3958 | 3103.6406
2026 | 2849.3298 | 0 | 78.8688 | 1.3269 | 33.0056 | 81.4181 | 3043.9493 | 59 | 2984.9493 | 102 | 2941.9493 | 28.775 | 2913.1744 | 2026 | 2699.9303 | 3043.9493 | 3251.6832 | 2569.1553 | 2913.1744 | 3120.9083
2027 | 2868.2383 | 0 | 78.8688 | 1.573 | 34.3743 | 81.6143 | 3064.6687 | 59 | 3005.6687 | 102 | 2962.6687 | 31.9722 | 2930.6965 | 2027 | 2719.3812 | 3064.6687 | 3273.7343 | 2585.409 | 2930.6965 | 3139.7621
2028 | 2890.4303 | 0 | 78.8688 | 1.8489 | 35.3324 | 81.8224 | 3088.3028 | 59 | 3029.3028 | 102 | 2986.3028 | 35.1694 | 2951.1334 | 2028 | 2741.2504 | 3088.3028 | 3298.659 | 2604.081 | 2951.1334 | 3161.4896
2029 | 2911.7679 | 0 | 78.8688 | 2.157 | 36.003 | 82.0065 | 3110.8032 | 59 | 3051.8032 | 102 | 3008.8032 | 38.3666 | 2970.4366 | 2029 | 2761.9324 | 3110.8032 | 3322.275 | 2621.5657 | 2970.4366 | 3181.9083
2030 | 2932.2818 | 0 | 78.8688 | 2.4992 | 36.4725 | 82.1696 | 3132.2918 | 59 | 3073.2918 | 102 | 3030.2918 | 41.5639 | 2988.728 | 2030 | 2781.5828 | 3132.2918 | 3344.7415 | 2638.0189 | 2988.728 | 3201.1777
2031 | 2952.8906 | 0 | 78.8688 | 2.8771 | 36.8011 | 82.3201 | 3153.7577 | 59 | 3094.7577 | 102 | 3051.7577 | 44.7611 | 3006.9966 | 2031 | 2801.1303 | 3153.7577 | 3367.1133 | 2654.3692 | 3006.9966 | 3220.3523
2032 | 2975.0869 | 0 | 78.8688 | 3.2927 | 37.0311 | 82.4676 | 3176.7471 | 59 | 3117.7471 | 102 | 3074.7471 | 47.9583 | 3026.7888 | 2032 | 2822.0002 | 3176.7471 | 3391.0192 | 2672.0419 | 3026.7888 | 3241.0609
2033 | 2998.1378 | 0 | 78.8688 | 3.7466 | 37.1921 | 82.6055 | 3200.5508 | 59 | 3141.5508 | 102 | 3098.5508 | 51.1555 | 3047.3953 | 2033 | 2843.5647 | 3200.5508 | 3415.7288 | 2690.4092 | 3047.3953 | 3262.5733
2034 | 3023.6335 | 0 | 78.8688 | 4.2414 | 37.3048 | 82.7398 | 3226.7883 | 59 | 3167.7883 | 102 | 3124.7883 | 54.3527 | 3070.4356 | 2034 | 2867.3053 | 3226.7883 | 3442.9386 | 2710.9525 | 3070.4356 | 3286.5859
2035 | 3051.9955 | 0 | 78.8688 | 4.7784 | 37.3837 | 82.867 | 3255.8934 | 59 | 3196.8934 | 102 | 3153.8934 | 57.55 | 3096.3435 | 2035 | 2893.6244 | 3255.8934 | 3473.1046 | 2734.0744 | 3096.3435 | 3313.5546
2036 | 3082.1428 | 0 | 78.8688 | 5.3603 | 37.439 | 82.9763 | 3286.7871 | 59 | 3227.7871 | 102 | 3184.7871 | 60.7472 | 3124.04 | 2036 | 2921.549 | 3286.7871 | 3505.1029 | 2758.8018 | 3124.04 | 3342.3558
2037 | 3114.194 | 0 | 78.8688 | 5.9874 | 37.4776 | 83.0628 | 3319.5908 | 59 | 3260.5908 | 102 | 3217.5908 | 63.9444 | 3153.6464 | 2037 | 2951.1938 | 3319.5908 | 3539.0612 | 2785.2494 | 3153.6464 | 3373.1168
2038 | 3148.0512 | 0 | 78.8688 | 6.6624 | 37.5047 | 83.1206 | 3354.2078 | 59 | 3295.2078 | 102 | 3252.2078 | 67.1416 | 3185.0661 | 2038 | 2982.4746 | 3354.2078 | 3574.8782 | 2813.333 | 3185.0661 | 3405.7365
2039 | 3183.1238 | 0 | 78.8688 | 7.3884 | 37.5236 | 83.1432 | 3390.0478 | 59 | 3331.0478 | 102 | 3288.0478 | 70.3388 | 3217.709 | 2039 | 3014.8574 | 3390.0478 | 3611.9375 | 2842.5185 | 3217.709 | 3439.5987
2040 | 3220.3583 | 0 | 78.8688 | 8.1674 | 37.5369 | 83.1248 | 3428.0563 | 59 | 3369.0563 | 102 | 3326.0563 | 73.5361 | 3252.5202 | 2040 | 3049.2037 | 3428.0563 | 3651.2234 | 2873.6677 | 3252.5202 | 3475.6873
2041 | 3259.4415 | 0 | 78.8688 | 9.0016 | 37.5462 | 83.0577 | 3467.9158 | 59 | 3408.9158 | 102 | 3365.9158 | 76.7333 | 3289.1825 | 2041 | 3085.2273 | 3467.9158 | 3692.4031 | 2906.494 | 3289.1825 | 3513.6699
2042 | 3299.7191 | 0 | 78.8688 | 9.8929 | 37.5527 | 82.9361 | 3508.9696 | 59 | 3449.9696 | 102 | 3406.9696 | 79.9305 | 3327.0391 | 2042 | 3122.3321 | 3508.9696 | 3734.7904 | 2940.4016 | 3327.0391 | 3552.8599
2043 | 3341.3332 | 0 | 78.8688 | 10.844 | 37.5572 | 82.9361 | 3551.5393 | 59 | 3492.5393 | 102 | 3449.5393 | 83.1277 | 3366.4115 | 2043 | 3160.3729 | 3551.5393 | 3779.0734 | 2975.2452 | 3366.4115 | 3593.9457
2044 | 3385.6124 | 0 | 78.8688 | 11.8575 | 37.5604 | 82.9361 | 3596.8352 | 59 | 3537.8352 | 102 | 3494.8352 | 86.3249 | 3408.5102 | 2044 | 3200.8477 | 3596.8352 | 3826.19 | 3012.5227 | 3408.5102 | 3637.865
2045 | 3431.647 | 0 | 78.8688 | 12.9369 | 37.5626 | 82.9361 | 3643.9515 | 59 | 3584.9515 | 102 | 3541.9515 | 89.5222 | 3452.4293 | 2045 | 3242.9402 | 3643.9515 | 3875.1877 | 3051.418 | 3452.4293 | 3683.6655
2046 | 3480.319 | 0 | 78.8688 | 14.0855 | 37.5642 | 82.9361 | 3693.7736 | 59 | 3634.7736 | 102 | 3591.7736 | 92.7194 | 3499.0542 | 2046 | 3287.4465 | 3693.7736 | 3926.9948 | 3092.7271 | 3499.0542 | 3732.2754
2047 | 3532.1762 | 0 | 78.8688 | 15.3073 | 27.343 | 82.9361 | 3736.6314 | 59 | 3677.6314 | 102 | 3634.6314 | 90.579 | 3544.0523 | 2047 | 3334.8624 | 3736.6314 | 3982.1893 | 3142.2834 | 3544.0523 | 3789.6103
Note:
1) AUX is JEA Plant House Load (i.e. Northside, Kennedy, Brandy Branch and Greenland)
2) FPU sales end December 31, 2017.

## Summer Details
| Summer Peak (MW) | [13 empty] | Mild/Harsh Weather Peak Forecast (MW)
FY | System | [6 empty] | Interrupt AmeriSteel |  | Total Interruptibles |  | Conservation |  | FY | Total |  |  | Firm
| JEA | FPU | AmeriSteel | PEV | Electrification | AUX | Total |  | Sub-Total |  | Sub-Total |  | Firm Peak |  | Mild | Base | Harsh | Mild | Base | Harsh
2018 | 2562.0517 | 0 | 78.8688 | 0.92287 | 5.8456 | 77.238 | 2724.927 | 27 | 2697.927 | 105 | 2619.927 | 4.1038 | 2615.8232 | 2018 | 2548.5616 | 2724.927 | 2815.2857 | 2439.4577 | 2615.8232 | 2706.1819
2019 | 2577.157 | 0 | 78.8688 | 1.184 | 11.6913 | 77.5826 | 2746.4837 | 27 | 2719.4837 | 105 | 2641.4837 | 8.2077 | 2633.276 | 2019 | 2568.5571 | 2746.4837 | 2837.484 | 2455.3494 | 2633.276 | 2724.2763
2020 | 2585.9744 | 0 | 78.8688 | 1.5197 | 17.5369 | 77.8202 | 2761.72 | 27 | 2734.72 | 105 | 2656.72 | 12.3115 | 2644.4085 | 2020 | 2582.8292 | 2761.72 | 2853.0273 | 2465.5177 | 2644.4085 | 2735.7158
2021 | 2594.0109 | 0 | 78.8688 | 1.9312 | 23.3825 | 78.0421 | 2776.2355 | 27 | 2749.2355 | 105 | 2671.2355 | 16.4154 | 2654.8201 | 2021 | 2596.4321 | 2776.2355 | 2867.7844 | 2475.0167 | 2654.8201 | 2746.369
2022 | 2602.958 | 0 | 78.8688 | 2.426 | 29.2281 | 78.2747 | 2791.7557 | 27 | 2764.7557 | 105 | 2686.7557 | 20.5192 | 2666.2364 | 2022 | 2610.9216 | 2791.7557 | 2883.5602 | 2485.4024 | 2666.2364 | 2758.041
2023 | 2612.4249 | 0 | 78.8688 | 3.0076 | 35.0663 | 78.5112 | 2807.8787 | 27 | 2780.8787 | 105 | 2702.8787 | 24.6231 | 2678.2557 | 2023 | 2625.9388 | 2807.8787 | 2899.9383 | 2496.3158 | 2678.2557 | 2770.3152
2024 | 2620.2179 | 0 | 78.8688 | 3.6792 | 40.8244 | 78.7189 | 2822.3092 | 27 | 2795.3092 | 105 | 2717.3092 | 28.7269 | 2688.5823 | 2024 | 2645.3782 | 2822.3092 | 2920.4586 | 2511.6513 | 2688.5823 | 2786.7317
2025 | 2628.5571 | 0 | 78.8688 | 4.449 | 44.8598 | 78.93 | 2835.6648 | 27 | 2808.6648 | 105 | 2730.6648 | 32.8308 | 2697.834 | 2025 | 2660.5554 | 2835.6648 | 2936.82 | 2522.7246 | 2697.834 | 2798.9893
2026 | 2638.6232 | 0 | 78.8688 | 5.3246 | 44.5252 | 79.1377 | 2846.4795 | 27 | 2819.4795 | 105 | 2741.4795 | 35.5783 | 2705.9012 | 2026 | 2675.7778 | 2846.4795 | 2953.4866 | 2535.1995 | 2705.9012 | 2812.9083
2027 | 2649.9124 | 0 | 78.8688 | 6.312 | 47.2475 | 79.3418 | 2861.6826 | 27 | 2834.6826 | 105 | 2756.6826 | 39.8856 | 2716.797 | 2027 | 2691.1146 | 2861.6826 | 2970.4504 | 2546.2291 | 2716.797 | 2825.5648
2028 | 2662.0558 | 0 | 78.8688 | 7.419 | 51.0462 | 79.5424 | 2878.9321 | 27 | 2851.9321 | 105 | 2773.9321 | 45.1423 | 2728.7898 | 2028 | 2706.6112 | 2878.9321 | 2987.7001 | 2556.4689 | 2728.7898 | 2837.5578
2029 | 2673.9776 | 0 | 78.8688 | 28.7002 | 52.0151 | 79.8985 | 2913.4602 | 27 | 2886.4602 | 105 | 2808.4602 | 49.2462 | 2759.2141 | 2029 | 2721.5639 | 2913.4602 | 3004.373 | 2567.3177 | 2759.2141 | 2850.1269
2030 | 2685.4174 | 0 | 78.8688 | 33.253 | 52.6933 | 80.091 | 2930.3236 | 27 | 2903.3236 | 105 | 2825.3236 | 53.35 | 2771.9736 | 2030 | 2735.9321 | 2930.3236 | 3020.3895 | 2577.5821 | 2771.9736 | 2862.0395
2031 | 2697.5288 | 0 | 78.8688 | 38.282 | 53.1681 | 80.2864 | 2948.1341 | 27 | 2921.1341 | 105 | 2843.1341 | 57.4538 | 2785.6802 | 2031 | 2750.9114 | 2948.1341 | 3037.1129 | 2588.4576 | 2785.6802 | 2874.6591
2032 | 2710.2092 | 0 | 78.8688 | 43.8112 | 53.5004 | 80.4838 | 2966.8735 | 27 | 2939.8735 | 105 | 2861.8735 | 61.5577 | 2800.3158 | 2032 | 2766.5109 | 2966.8735 | 3054.5363 | 2599.9533 | 2800.3158 | 2887.9786
2033 | 2723.917 | 0 | 78.8688 | 49.8507 | 53.7331 | 80.6882 | 2987.0578 | 27 | 2960.0578 | 105 | 2882.0578 | 65.6615 | 2816.3963 | 2033 | 2783.2116 | 2987.0578 | 3073.2065 | 2612.55 | 2816.3963 | 2902.5449
2034 | 2739.2192 | 0 | 78.8688 | 56.4346 | 53.8959 | 80.905 | 3009.3236 | 27 | 2982.3236 | 105 | 2904.3236 | 69.7654 | 2834.5582 | 2034 | 2801.5979 | 3009.3236 | 3093.7894 | 2626.8325 | 2834.5582 | 2919.024
2035 | 2755.6679 | 0 | 78.8688 | 63.5803 | 54.0099 | 81.1273 | 3033.2543 | 27 | 3006.2543 | 105 | 2928.2543 | 73.8692 | 2854.385 | 2035 | 2821.2979 | 3033.2543 | 3115.8466 | 2642.4287 | 2854.385 | 2936.9774
2036 | 2772.8903 | 0 | 78.8688 | 71.3228 | 54.0897 | 81.3495 | 3058.5211 | 27 | 3031.5211 | 105 | 2953.5211 | 77.9731 | 2875.5481 | 2036 | 2842.017 | 3058.5211 | 3139.0283 | 2659.044 | 2875.5481 | 2956.0552
2037 | 2791.3314 | 0 | 78.8688 | 79.6672 | 54.1455 | 81.574 | 3085.587 | 27 | 3058.587 | 105 | 2980.587 | 82.0769 | 2898.5101 | 2037 | 2864.1714 | 3085.587 | 3163.8139 | 2677.0945 | 2898.5101 | 2976.737
2038 | 2810.6493 | 0 | 78.8688 | 88.6485 | 54.1846 | 81.795 | 3114.1462 | 27 | 3087.1462 | 105 | 3009.1462 | 86.1808 | 2922.9655 | 2038 | 2887.4789 | 3114.1462 | 3189.8707 | 2696.2982 | 2922.9655 | 2998.69
2039 | 2831.0577 | 0 | 78.8688 | 98.3081 | 54.212 | 82.0121 | 3144.4587 | 27 | 3117.4587 | 105 | 3039.4587 | 90.2846 | 2949.1741 | 2039 | 2912.1682 | 3144.4587 | 3217.4568 | 2716.8836 | 2949.1741 | 3022.1722
2040 | 2852.7645 | 0 | 78.8688 | 108.6732 | 54.2312 | 82.2234 | 3176.7611 | 27 | 3149.7611 | 105 | 3071.7611 | 94.3885 | 2977.3726 | 2040 | 2938.4449 | 3176.7611 | 3246.8061 | 2739.0565 | 2977.3726 | 3047.4176
2041 | 2875.0993 | 0 | 78.8688 | 119.7723 | 54.2446 | 82.4207 | 3210.4057 | 27 | 3183.4057 | 105 | 3105.4057 | 98.4923 | 3006.9134 | 2041 | 2965.7153 | 3210.4057 | 3277.2269 | 2762.223 | 3006.9134 | 3073.7346
2042 | 2898.1203 | 0 | 78.8688 | 131.6324 | 54.254 | 82.6015 | 3245.4769 | 27 | 3218.4769 | 105 | 3140.4769 | 102.5961 | 3037.8808 | 2042 | 2994.0471 | 3245.4769 | 3308.7942 | 2786.4509 | 3037.8808 | 3101.198
2043 | 2922.2486 | 0 | 78.8688 | 144.2865 | 50.767 | 82.7645 | 3278.9354 | 27 | 3251.9354 | 105 | 3173.9354 | 102.8795 | 3071.0559 | 2043 | 3023.8424 | 3278.9354 | 3341.9686 | 2815.9628 | 3071.0559 | 3134.089
2044 | 2947.0598 | 0 | 78.8688 | 157.7722 | 51.1638 | 82.9037 | 3317.7683 | 27 | 3290.7683 | 105 | 3212.7683 | 107.2285 | 3105.5398 | 2044 | 3054.7358 | 3317.7683 | 3376.3222 | 2842.5072 | 3105.5398 | 3164.0937
2045 | 2973.57 | 0 | 78.8688 | 172.1352 | 51.5748 | 83.0178 | 3359.1666 | 27 | 3332.1666 | 105 | 3254.1666 | 111.6225 | 3142.5441 | 2045 | 3087.6745 | 3359.1666 | 3412.9447 | 2871.052 | 3142.5441 | 3196.3223
2046 | 3001.3233 | 0 | 78.8688 | 187.4181 | 51.4333 | 83.0988 | 3402.1423 | 27 | 3375.1423 | 105 | 3297.1423 | 115.455 | 3181.6874 | 2046 | 3122.2653 | 3402.1423 | 3451.3752 | 2901.8103 | 3181.6874 | 3230.9203
2047 | 3030.5311 | 0 | 78.8688 | 203.6748 | 35.9826 | 83.1393 | 3432.1966 | 27 | 3405.1966 | 105 | 3327.1966 | 100.1665 | 3227.0301 | 2047 | 3157.6341 | 3432.1966 | 3490.7771 | 2952.4676 | 3227.0301 | 3285.6106
Note:
1) AUX is JEA Plant House Load (i.e. Northside, Kennedy, Brandy Branch and Greenland)
2) FPU sales end December 31, 2017.

## Interruptibles
JEA Interruptible Customers Meter Readings at Day of Peak
Winter | Year | With AmeriSteel |  |  |  | Without AmeriSteel |  |  |  | AmeriSteel
|  | Min | Max | Avg | @ Peak | Min | Max | Avg | @ Peak | Min | Max | Diff.
| 2013 | 64.2488 | 151.9809 | 93.6677 | 81.0477 | 60.2823 | 86.0204 | 74.5449 | 74.3824 | 3.9665 | 65.9605 | 61.994
| 2014 | 51.7105 | 126.3363 | 87.4847 | 68.6591 | 51.5222 | 80.9887 | 67.6066 | 68.3093 | 0.18828 | 45.3477 | 45.1594
| 2015 | 88.7027 | 160.4968 | 118.7404 | 91 | 69.9063 | 92.3009 | 80.8822 | 79 | 18.7964 | 68.1959 | 49.3995
| 2016 | 75.1122 | 113.1552 | 103.746 | 103.5279 | 48.3133 | 55.6231 | 52.6487 | 53.5225 | 26.7988 | 57.5321 | 30.7332
| 2017 | 68.1453 | 127.1366 | 84.3693 | 77.521 | 54.7749 | 76.9845 | 65.7065 | 65.5884 | 13.3704 | 50.1521 | 36.7817
| Avg. 5yrs | 69.5839 | 135.8212 | 97.6016 | 84.3511 | 56.9598 | 78.3835 | 68.2778 | 68.1605 | 12.6241 | 57.4376 | 44.8136 | 102 | MW (Winter)
Summer | Year | With AmeriSteel |  |  |  | Without AmeriSteel |  |  |  | AmeriSteel
|  | Min | Max | Avg | @ Peak | Min | Max | Avg | @ Peak | Min | Max | Diff.
| 2013 | 85.641 | 169.4307 | 127.6899 | 142.5068 | 79.7388 | 100.8295 | 90.8219 | 93.633 | 5.9022 | 68.6012 | 62.699
| 2014 | 100.1927 | 154.647 | 128.0125 | 141.9791 | 58.8285 | 87.0039 | 74.1994 | 78.5957 | 41.3642 | 67.643 | 26.2788
| 2015 | 124.235 | 154.3286 | 139.4173 | 148 | 70.929 | 97.9159 | 85.9986 | 88 | 53.306 | 56.4127 | 3.1068
| 2016 | 100.4261 | 145.8903 | 127.9465 | 145.8903 | 78.4276 | 90.3359 | 84.251 | 86.2979 | 21.9985 | 55.5544 | 33.5559
| 2017 | 114.1329 | 149.8533 | 137.3547 | 142.5189 | 86.2891 | 98.784 | 93.1586 | 96.3152 | 27.8437 | 51.0693 | 23.2255
| Avg. 5yrs | 104.9255 | 154.83 | 132.0842 | 144.179 | 74.8426 | 94.9739 | 85.6859 | 88.5684 | 30.0829 | 59.8561 | 29.7732 | 105 | MW (Summer)

## Monthly Energy
Year | Sales (MWH) | [12 empty] | Year | AUX (MWH)
| Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Total |  | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Total
2018 | 963931.5311 | 882333.0922 | 947470.1927 | 1019211.375 | 885036.2928 | 896263.0235 | 890113.0487 | 1034769.1346 | 1154360.4877 | 1254077.6363 | 1229107.0933 | 1091820.3573 | 12248493.2653 | 2018 | [12 empty] | 0
2019 | 963298.3413 | 882413.2506 | 946708.7802 | 1028823.3735 | 893407.5714 | 904721.9847 | 898555.0591 | 1044583.5981 | 1165288.5596 | 1265975.6934 | 1240762.8578 | 1102179.8699 | 12336718.9396 | 2019 | [12 empty] | 0
2020 | 968552.0746 | 887255.4078 | 951899.1265 | 1034511.8303 | 898364.8419 | 909707.8227 | 903518.5302 | 1050360.6807 | 1171781.8053 | 1273051.7905 | 1247685.5197 | 1108305.4382 | 12404994.8685 | 2020 | [12 empty] | 0
2021 | 973474.2347 | 891728.9667 | 956691.4147 | 1039743.8836 | 902940.4536 | 914331.3029 | 908136.6639 | 1055704.3338 | 1177749.8255 | 1279538.7922 | 1254037.6641 | 1113951.6379 | 12468029.1738 | 2021 | [12 empty] | 0
2022 | 979089.1678 | 896868.7199 | 962192.5043 | 1045760.1161 | 908195.7214 | 919642.1963 | 913413.2197 | 1061799.7515 | 1184566.9868 | 1286925.1448 | 1261272.2266 | 1120383.9129 | 12540109.6679 | 2022 | [12 empty] | 0
2023 | 984962.1309 | 902278.9407 | 967982.641 | 1052107.3039 | 913734.8108 | 925216.9367 | 918943.7103 | 1068213.0201 | 1191798.9876 | 1294783.2657 | 1268960.4055 | 1127186.6235 | 12616168.7767 | 2023 | [12 empty] | 0
2024 | 989869.5484 | 906808.2846 | 972824.0353 | 1057418.6606 | 918381.1475 | 929886.6573 | 923575.5206 | 1073573.013 | 1197851.5586 | 1301355.3137 | 1275388.8065 | 1132875.3786 | 12679807.9248 | 2024 | [12 empty] | 0
2025 | 995122.5597 | 911672.483 | 978021.505 | 1063099.8712 | 923353.0392 | 934876.6711 | 928524.5663 | 1079299.1299 | 1204317.666 | 1308374.695 | 1282252.863 | 1138949.832 | 12747864.8814 | 2025 | [12 empty] | 0
2026 | 1001396.4464 | 917503.241 | 984252.9989 | 1069392.7638 | 928856.4773 | 940349.0655 | 933977.1304 | 1085573.1879 | 1211372.0937 | 1315967.3037 | 1289639.0286 | 1145497.065 | 12823776.8022 | 2026 | [12 empty] | 0
2027 | 1007815.4062 | 923555.1674 | 990726.5697 | 1076146.3169 | 934763.241 | 946190.9509 | 939813.8724 | 1092262.8987 | 1218866.3158 | 1323987.9342 | 1297417.9052 | 1152404.5735 | 12903951.1518 | 2027 | [12 empty] | 0
2028 | 1014264.3923 | 929709.9095 | 997315.2995 | 1083182.9989 | 940912.2928 | 952231.6221 | 945854.7066 | 1099192.4329 | 1226676.692 | 1332340.394 | 1305493.9508 | 1159548.2356 | 12986722.927 | 2028 | [12 empty] | 0
2029 | 1020301.1289 | 935532.2533 | 1003548.0634 | 1089936.835 | 946820.4567 | 958004.2648 | 951636.8958 | 1105806.6585 | 1234139.3785 | 1340294.1473 | 1313164.0851 | 1166330.2612 | 13065514.4285 | 2029 | [12 empty] | 0
2030 | 1025877.8383 | 940964.2542 | 1009360.7729 | 1096304.7944 | 952400.258 | 963427.6345 | 957077.9749 | 1112009.7934 | 1241144.4425 | 1347734.0137 | 1320320.3684 | 1172657.4679 | 13139279.6132 | 2030 | [12 empty] | 0
2031 | 1031766.8663 | 946713.9147 | 1015511.2109 | 1103087.3621 | 958348.2194 | 969211.4877 | 962880.6785 | 1118618.318 | 1248592.4529 | 1355639.5319 | 1327927.2302 | 1179392.3074 | 13217689.58 | 2031 | [12 empty] | 0
2032 | 1037915.8601 | 952735.6361 | 1021950.6665 | 1110224.9329 | 964609.6576 | 975294.3999 | 968980.1888 | 1125569.9579 | 1256442.7237 | 1363980.1165 | 1335952.6966 | 1186490.4992 | 13300147.3357 | 2032 | [12 empty] | 0
2033 | 1044664.2206 | 959339.2739 | 1029009.644 | 1118057.1704 | 971482.3705 | 981985.1126 | 975683.2187 | 1133213.6418 | 1265060.4608 | 1373146.0563 | 1344784.1513 | 1194309.602 | 13390734.9229 | 2033 | [12 empty] | 0
2034 | 1052358.2174 | 966851.4623 | 1037038.2965 | 1126967.3596 | 979298.4283 | 989616.5164 | 983317.5446 | 1141935.1969 | 1274882.7986 | 1383616.5302 | 1354891.1825 | 1203262.9035 | 13494036.4368 | 2034 | [12 empty] | 0
2035 | 1060729.7887 | 975023.8197 | 1045770.3447 | 1136660.8755 | 987800.2786 | 997924.4572 | 991619.3814 | 1151434.9433 | 1285595.0704 | 1395057.2351 | 1365944.1854 | 1213047.0701 | 13606607.4501 | 2035 | [12 empty] | 0
2036 | 1069561.6082 | 983653.4505 | 1054988.1419 | 1146903.1319 | 996784.6375 | 1006702.6236 | 1000383.609 | 1161475.704 | 1296939.081 | 1407190.1417 | 1377670.3595 | 1223416.7622 | 13725669.2511 | 2036 | [12 empty] | 0
2037 | 1079132.8632 | 992997.6017 | 1064967.1918 | 1157983.5724 | 1006502.3948 | 1016204.6615 | 1009861.7363 | 1172351.4867 | 1309244.5274 | 1420374.9956 | 1390422.3481 | 1234684.0865 | 13854727.4661 | 2037 | [12 empty] | 0
2038 | 1089263.0975 | 1002878.5303 | 1075516.6549 | 1169695.3777 | 1016776.6475 | 1026256.719 | 1019883.37 | 1183857.7954 | 1322273.4788 | 1434349.2526 | 1403944.6663 | 1246628.3366 | 13991323.9266 | 2038 | [12 empty] | 0
2039 | 1100124.2458 | 1013450.7619 | 1086800.7081 | 1182210.3283 | 1027760.7805 | 1037021.3168 | 1030611.7558 | 1196172.8744 | 1336197.5426 | 1449289.2911 | 1418414.267 | 1259422.3302 | 14137476.2025 | 2039 | [12 empty] | 0
2040 | 1111862.1592 | 1024846.0586 | 1098959.9001 | 1195673.8913 | 1039582.5333 | 1048630.1738 | 1042178.4366 | 1209446.1302 | 1351175.7342 | 1465365.0911 | 1433998.986 | 1273219.6447 | 14294938.7392 | 2040 | [12 empty] | 0
2041 | 1124066.4855 | 1036686.535 | 1111589.0064 | 1209647.6237 | 1051860.709 | 1060695.1359 | 1054197.481 | 1223231.8848 | 1366721.844 | 1482051.9408 | 1450183.1731 | 1287556.5407 | 14458488.3599 | 2041 | [12 empty] | 0
2042 | 1136780.073 | 1049011.0563 | 1124729.3677 | 1224174.8744 | 1064633.6225 | 1073255.4932 | 1066708.0588 | 1237574.5274 | 1382883.6639 | 1499401.0272 | 1467017.323 | 1302479.0351 | 14628648.1226 | 2042 | [12 empty] | 0
2043 | 1150300.0104 | 1062084.6771 | 1138664.0609 | 1239556.4769 | 1078166.7692 | 1086588.3909 | 1079988.184 | 1252785.0145 | 1399980.0166 | 1517748.2799 | 1484834.7786 | 1318299.2991 | 14808995.958 | 2043 | [12 empty] | 0
2044 | 1164303.2447 | 1075621.3076 | 1153088.0598 | 1255475.4596 | 1092178.6913 | 1100393.1998 | 1093734.7901 | 1268532.592 | 1417696.7541 | 1536772.3549 | 1503312.7882 | 1334700.0772 | 14995809.3194 | 2044 | [12 empty] | 0
2045 | 1179420.1253 | 1090208.8988 | 1168630.7628 | 1272614.2446 | 1107264.0002 | 1115273.6374 | 1108546.888 | 1285508.2357 | 1436786.764 | 1557285.1767 | 1523249.5124 | 1352400.1613 | 15197188.4071 | 2045 | [12 empty] | 0
2046 | 1195375.2364 | 1105595.4096 | 1185021.4898 | 1290678.9178 | 1123167.6991 | 1130969.9052 | 1124166.1162 | 1303412.7852 | 1456922.2509 | 1578932.3158 | 1544296.8014 | 1371087.3936 | 15409626.321 | 2046 | [12 empty] | 0
2047 | 1212244.4007 | 1121862.7903 | 1202349.319 | 1309779.153 | 1139980.5817 | 1147561.159 | 1140667.1858 | 1322349.4262 | 1478258.0056 | 1601896.7137 | 1566628.2042 | 1390893.7044 | 15634470.6437 | 2047 | [12 empty] | 0
2048 | Sales (MWH) Oct: 1320988.7326; Sales (MWH) Nov: 1228984.0056; Sales (MWH) Dec: 1330329.3132
Year | Sales (MWH) Oct: NEL (MWH) |  | Year | Production (MWH)
| Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Total |  | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Total
2018 | 990632.4345 | 906773.7188 | 973715.117 | 1047443.5301 | 909551.7981 | 921089.5093 | 914769.1802 | 1063432.2396 | 1186336.2733 | 1288815.5868 | 1263153.3597 | 1122063.7812 | 12587776.5287 | 2018 | [12 empty] | 0
2019 | 989981.7053 | 906856.0976 | 972932.6134 | 1057321.781 | 918154.9611 | 929782.7837 | 923445.0343 | 1073518.5637 | 1197567.0527 | 1301043.2201 | 1275131.989 | 1132710.2523 | 12678446.0543 | 2019 | [12 empty] | 0
2020 | 995380.9671 | 911832.3826 | 978266.7324 | 1063167.8081 | 923249.548 | 934906.7294 | 928545.9935 | 1079455.6716 | 1204240.1613 | 1308315.3251 | 1282246.4086 | 1139005.4988 | 12748613.2264 | 2020 | [12 empty] | 0
2021 | 1000439.471 | 916429.8591 | 983191.7669 | 1068544.7892 | 927951.9042 | 939658.28 | 933292.0495 | 1084947.3438 | 1210373.4957 | 1314982.0167 | 1288774.5074 | 1144808.0983 | 12813393.5819 | 2021 | [12 empty] | 0
2022 | 1006209.9377 | 921711.9834 | 988845.2367 | 1074727.6713 | 933352.7428 | 945116.2851 | 938714.7658 | 1091211.6046 | 1217379.4923 | 1322572.9713 | 1296209.4673 | 1151418.5472 | 12887470.7057 | 2022 | [12 empty] | 0
2023 | 1012245.582 | 927272.0673 | 994795.7601 | 1081250.6762 | 939045.265 | 950845.4458 | 944398.4511 | 1097802.5208 | 1224811.8196 | 1330648.7621 | 1304110.6087 | 1158409.693 | 12965636.6518 | 2023 | [12 empty] | 0
2024 | 1017288.9349 | 931926.8741 | 999771.261 | 1086709.1575 | 943820.3053 | 955644.5178 | 949158.5625 | 1103310.9855 | 1231032.0468 | 1337402.8559 | 1310717.0765 | 1164256.0266 | 13031038.6043 | 2024 | [12 empty] | 0
2025 | 1022687.4546 | 936925.8107 | 1005112.7007 | 1092547.7377 | 948929.9184 | 960772.7549 | 954244.6968 | 1109195.7158 | 1237677.2653 | 1344616.6741 | 1317771.2673 | 1170498.7423 | 13100980.7386 | 2025 | [12 empty] | 0
2026 | 1029135.128 | 942918.0808 | 1011516.807 | 1099014.9434 | 954585.8017 | 966396.7346 | 959848.2969 | 1115643.5652 | 1244927.1007 | 1352419.598 | 1325362.0297 | 1177227.3337 | 13178995.4196 | 2026 | [12 empty] | 0
2027 | 1035731.8929 | 949137.6456 | 1018169.6956 | 1105955.5699 | 960656.1828 | 972400.4402 | 965846.7167 | 1122518.581 | 1252628.9127 | 1360662.3999 | 1333356.3811 | 1184326.1802 | 13261390.5987 | 2027 | [12 empty] | 0
2028 | 1042359.516 | 955462.874 | 1024940.9333 | 1113187.1679 | 966975.5634 | 978608.4381 | 972054.882 | 1129640.0633 | 1260655.6364 | 1369246.2229 | 1341656.1332 | 1191667.7217 | 13346455.1521 | 2028 | [12 empty] | 0
2029 | 1048563.4702 | 961446.4967 | 1031346.3448 | 1120128.0853 | 973047.3834 | 984540.9829 | 977997.2378 | 1136437.5029 | 1268325.0393 | 1377420.2952 | 1349538.7302 | 1198637.6094 | 13427429.1782 | 2029 | [12 empty] | 0
2030 | 1054294.6544 | 967028.964 | 1037320.0663 | 1126672.4372 | 978781.7452 | 990114.58 | 983589.0348 | 1142812.4647 | 1275524.1436 | 1385066.2458 | 1356893.2426 | 1205140.0798 | 13503237.6585 | 2030 | [12 empty] | 0
2031 | 1060346.8085 | 972937.8901 | 1043640.8714 | 1133642.882 | 984894.4651 | 996058.646 | 989552.4733 | 1149604.0454 | 1283178.4638 | 1393190.747 | 1364710.8144 | 1212061.4744 | 13583819.5814 | 2031 | [12 empty] | 0
2032 | 1066666.1294 | 979126.4132 | 1050258.6999 | 1140978.1636 | 991329.3451 | 1002310.0548 | 995820.94 | 1156748.2457 | 1291246.1872 | 1401762.3658 | 1372958.5863 | 1219356.286 | 13668561.4169 | 2032 | [12 empty] | 0
2033 | 1073601.4195 | 985912.9718 | 1057513.2111 | 1149027.354 | 998392.4321 | 1009186.1002 | 1002709.6439 | 1164603.6597 | 1300102.6356 | 1411182.2021 | 1382034.6723 | 1227391.978 | 13761658.2803 | 2033 | [12 empty] | 0
2034 | 1081508.54 | 993633.2478 | 1065764.2573 | 1158184.3555 | 1006424.9948 | 1017028.8939 | 1010555.4406 | 1173566.8019 | 1310197.0522 | 1421942.708 | 1392421.6682 | 1236593.286 | 13867821.2461 | 2034 | [12 empty] | 0
2035 | 1090112.0038 | 1002031.9795 | 1074738.1832 | 1168146.3818 | 1015162.3463 | 1025566.9647 | 1019087.2383 | 1183329.6912 | 1321206.0538 | 1433700.3206 | 1403780.8393 | 1246648.474 | 13983510.4765 | 2035 | [12 empty] | 0
2036 | 1099188.4647 | 1010900.6511 | 1084211.3134 | 1178672.3487 | 1024395.572 | 1034588.2863 | 1028094.235 | 1193648.581 | 1332864.2935 | 1446169.3086 | 1415831.8285 | 1257305.4065 | 14105870.2893 | 2036 | [12 empty] | 0
2037 | 1109024.8435 | 1020503.6352 | 1094466.783 | 1190059.7173 | 1034382.5111 | 1044353.5306 | 1037834.9064 | 1204825.6229 | 1345510.6009 | 1459719.383 | 1428937.0472 | 1268884.8357 | 14238503.4169 | 2037 | [12 empty] | 0
2038 | 1119435.6853 | 1030658.2656 | 1105308.4663 | 1202095.9397 | 1044941.3606 | 1054684.0301 | 1048134.1393 | 1216650.6563 | 1358900.4542 | 1474080.7269 | 1442833.9336 | 1281159.9415 | 14378883.5994 | 2038 | [12 empty] | 0
2039 | 1130597.6874 | 1041523.348 | 1116905.0878 | 1214957.5544 | 1056229.7541 | 1065746.8072 | 1059159.7014 | 1229306.8631 | 1373210.2145 | 1489434.6045 | 1457704.3422 | 1294308.3288 | 14529084.2933 | 2039 | [12 empty] | 0
2040 | 1142660.741 | 1053234.2945 | 1129401.0893 | 1228794.0581 | 1068378.9695 | 1077677.2296 | 1071046.7793 | 1242947.788 | 1388603.302 | 1505955.7041 | 1473720.7579 | 1308487.8288 | 14690908.5422 | 2040 | [12 empty] | 0
2041 | 1155203.1271 | 1065402.752 | 1142380.0219 | 1243154.8628 | 1080997.2507 | 1090076.3912 | 1083398.7512 | 1257115.408 | 1404580.0391 | 1523104.7795 | 1490353.247 | 1323221.8569 | 14858988.4875 | 2041 | [12 empty] | 0
2042 | 1168268.8811 | 1078068.6626 | 1155884.3711 | 1258084.5184 | 1094123.9739 | 1102984.6704 | 1096255.8721 | 1271855.3418 | 1421189.5414 | 1540934.4357 | 1507653.7029 | 1338557.7044 | 15033861.6755 | 2042 | [12 empty] | 0
2043 | 1182163.3207 | 1091504.4226 | 1170205.0554 | 1273892.1913 | 1108031.9887 | 1116686.8894 | 1109903.8567 | 1287487.1594 | 1438759.463 | 1559789.9072 | 1525964.7019 | 1354816.1897 | 15219205.146 | 2043 | [12 empty] | 0
2044 | 1196554.4446 | 1105416.0178 | 1185028.5991 | 1290252.1299 | 1122432.0411 | 1130874.0914 | 1124031.2438 | 1303670.9448 | 1456966.9542 | 1579340.9491 | 1544954.5524 | 1371671.2693 | 15411193.2375 | 2044 | [12 empty] | 0
2045 | 1212090.0627 | 1120407.6853 | 1201001.8349 | 1307865.6591 | 1137935.213 | 1146166.7172 | 1139253.6368 | 1321116.8138 | 1476585.7574 | 1600421.9761 | 1565443.5239 | 1389861.6458 | 15618150.526 | 2045 | [12 empty] | 0
2046 | 1228487.1305 | 1136220.4025 | 1217846.585 | 1326430.7238 | 1154279.4444 | 1162297.7716 | 1155305.5177 | 1339517.3194 | 1497278.9972 | 1622668.7409 | 1587073.8228 | 1409066.5144 | 15836472.9701 | 2046 | [12 empty] | 0
2047 | 1245823.5706 | 1152938.3896 | 1235654.3951 | 1346060.0355 | 1171558.0438 | 1179348.6031 | 1172263.6669 | 1358978.5053 | 1519205.7523 | 1646269.2527 | 1610023.8055 | 1429421.46 | 16067545.4805 | 2047 | [12 empty] | 0
2048 | NEL (MWH) Oct: 1355361.5848; NEL (MWH) Nov: 1260962.8443; NEL (MWH) Dec: 1364945.2125

## Monthly Peaks
Year | Total Peak Demand (MW)
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
[10 empty] | 2256.527 | 2165.6219 | 2344.8587
2018 | 2858.1293 | 2592.6651 | 2018.5867 | 2034.5308 | 2440.9601 | 2570.4956 | 2683.8275 | 2724.698 | 2515.3331 | 2317.2931 | 2223.9401 | 2408.0036
2019 | 2902.8013 | 2633.188 | 2050.1369 | 2050.5625 | 2460.1943 | 2590.7506 | 2704.9755 | 2746.1681 | 2535.1534 | 2336.6367 | 2242.5044 | 2428.1043
2020 | 2927.0324 | 2655.1685 | 2067.2504 | 2061.8553 | 2473.743 | 2605.0183 | 2719.8723 | 2761.2917 | 2549.1149 | 2352.7939 | 2258.0107 | 2444.894
2021 | 2947.272 | 2673.5282 | 2081.5448 | 2072.5899 | 2486.6221 | 2618.5808 | 2734.0328 | 2775.6678 | 2562.3864 | 2368.4289 | 2273.0159 | 2461.1411
2022 | 2966.8576 | 2691.2947 | 2095.3773 | 2084.0527 | 2500.3748 | 2633.0632 | 2749.1538 | 2791.0191 | 2576.5581 | 2385.7803 | 2289.6683 | 2479.1717
2023 | 2988.5931 | 2711.0114 | 2110.7283 | 2095.9468 | 2514.6449 | 2648.0906 | 2764.8437 | 2806.9479 | 2591.263 | 2400.7572 | 2304.0418 | 2494.7348
2024 | 3007.3541 | 2728.0299 | 2123.9785 | 2111.0039 | 2532.7099 | 2667.1144 | 2784.7062 | 2827.1129 | 2609.8785 | 2415.5336 | 2318.223 | 2510.0897
2025 | 3025.8642 | 2744.8207 | 2137.0514 | 2122.9295 | 2547.0178 | 2682.1815 | 2800.4376 | 2843.0839 | 2624.6223 | 2431.2882 | 2333.3429 | 2526.461
2026 | 3045.5994 | 2762.723 | 2150.9896 | 2135.0186 | 2561.5219 | 2697.4553 | 2816.3848 | 2859.2739 | 2639.5683 | 2448.2253 | 2349.5976 | 2544.061
2027 | 3066.816 | 2781.9689 | 2165.9741 | 2147.2843 | 2576.2379 | 2712.9522 | 2832.565 | 2875.7005 | 2654.7326 | 2467.3393 | 2367.9416 | 2563.9233
2028 | 3090.7595 | 2803.6886 | 2182.8845 | 2159.7323 | 2591.1726 | 2728.6794 | 2848.9856 | 2892.3712 | 2670.1224 | 2485.4399 | 2385.313 | 2582.7324
2029 | 3113.4336 | 2824.2567 | 2198.8983 | 2171.7578 | 2605.6004 | 2743.8729 | 2864.849 | 2908.4761 | 2684.9898 | 2502.6534 | 2401.8331 | 2600.6197
2030 | 3134.9964 | 2843.8167 | 2214.1273 | 2183.311 | 2619.4614 | 2758.4696 | 2880.0892 | 2923.9484 | 2699.2732 | 2519.7894 | 2418.2788 | 2618.4266
2031 | 3156.4621 | 2863.2887 | 2229.2877 | 2195.3684 | 2633.9275 | 2773.7033 | 2895.9946 | 2940.096 | 2714.18 | 2538.0962 | 2435.8481 | 2637.45
2032 | 3179.3945 | 2884.0911 | 2245.484 | 2207.9289 | 2648.9972 | 2789.5727 | 2912.5636 | 2956.9174 | 2729.7088 | 2557.0172 | 2454.0068 | 2657.1116
2033 | 3203.0963 | 2905.5915 | 2262.2236 | 2221.3845 | 2665.1408 | 2806.573 | 2930.3134 | 2974.9375 | 2746.3443 | 2577.8518 | 2474.0021 | 2678.7617
2034 | 3229.195 | 2929.2662 | 2280.6562 | 2236.2125 | 2682.9308 | 2825.3071 | 2949.8736 | 2994.7955 | 2764.6764 | 2600.9505 | 2496.1702 | 2702.7647
2035 | 3258.1301 | 2955.5137 | 2301.0919 | 2252.1019 | 2701.9944 | 2845.3823 | 2970.8339 | 3016.075 | 2784.3208 | 2625.455 | 2519.6875 | 2728.2284
2036 | 3288.8261 | 2983.3587 | 2322.7713 | 2268.8051 | 2722.0343 | 2866.4857 | 2992.8677 | 3038.4444 | 2804.9713 | 2651.464 | 2544.6488 | 2755.2555
2037 | 3321.4068 | 3012.9133 | 2345.7818 | 2286.6646 | 2743.4615 | 2889.05 | 3016.4269 | 3062.3623 | 2827.0514 | 2678.9014 | 2570.9808 | 2783.7669
2038 | 3355.7767 | 3044.0909 | 2370.056 | 2305.4444 | 2765.9929 | 2912.7771 | 3041.2001 | 3087.5128 | 2850.2693 | 2707.2962 | 2598.2318 | 2813.2733
2039 | 3391.3461 | 3076.3566 | 2395.1772 | 2325.33 | 2789.851 | 2937.9013 | 3067.432 | 3114.1441 | 2874.8543 | 2737.4033 | 2627.126 | 2844.5589
2040 | 3429.0603 | 3110.5678 | 2421.8133 | 2346.4892 | 2815.2371 | 2964.6345 | 3095.3439 | 3142.4811 | 2901.0139 | 2768.969 | 2657.42 | 2877.3602
2041 | 3468.6016 | 3146.4366 | 2449.7398 | 2368.4297 | 2841.5605 | 2992.3549 | 3124.2864 | 3171.8644 | 2928.1394 | 2801.4686 | 2688.6104 | 2911.1321
2042 | 3509.3129 | 3183.3666 | 2478.4927 | 2391.2056 | 2868.8863 | 3021.1308 | 3154.331 | 3202.3665 | 2956.2977 | 2835.1585 | 2720.9431 | 2946.1407
2043 | 3551.5152 | 3221.6491 | 2508.2985 | 2415.1467 | 2897.6099 | 3051.3787 | 3185.9125 | 3234.4289 | 2985.8965 | 2871.004 | 2755.3446 | 2983.3895
2044 | 3596.4178 | 3262.3812 | 2540.0115 | 2439.9487 | 2927.3665 | 3082.7144 | 3218.6298 | 3267.6445 | 3016.5598 | 2908.2812 | 2791.1201 | 3022.1259
2045 | 3643.1138 | 3304.74 | 2572.9911 | 2466.3904 | 2959.0903 | 3116.1217 | 3253.51 | 3303.0559 | 3049.2502 | 2947.6959 | 2828.9469 | 3063.0834
2046 | 3692.4873 | 3349.5277 | 2607.8617 | 2494.1443 | 2992.3885 | 3151.1869 | 3290.1212 | 3340.2246 | 3083.5629 | 2989.6875 | 2869.2469 | 3106.7188
2047 | 3745.089 | 3397.2437 | 2645.0122 | 2522.5763 | 3026.5003 | 3187.1089 | 3327.627 | 3378.3016 | 3118.714 | 3017.6437 | 2896.0768 | 3135.7693
Note:
1) Total Peak Demand include FPU (until 12/31/2017), PEVs and Off-Road Electrification. Does not include DSM.